Rainwater pump……

1.Requirements:

- It can provide service water all day, under the contingency instance, the control system must be able to be switched over to drinkable water system automatically.

- When switching to drinkable water system, it can’t interlard rain water.

- If rain container has not enough rain water, service water pump can’t be on (rain water dry-up protection).

2.The function block program diagram is as following