Interlocking circuit for two outputs

If a motor can be moved in two directions (e.g. roller blind UP/DOWN, gate OPEN/CLOSE) must be avoided, that both commands can reach the motor at the same time accidentally - always only one output is allowed to be active at a time.

In this example is shown how this can be basically done with xLogic.

Warning:

Unsafe operating conditions can cause controllers to fail, resulting in unchecked operation of controlled devices.

Such hazardous events can cause death and/or serious injury and/or material damage. You must therefore provide an emergency stop function and electric or other redundant safety devices that are independent of your automation system.